Whilst on our premises, the Contractor is required to conform to the Company’s local site safety rules, covering specific safety and health matters.

All contractors and their employees will report daily to the Reception area both when arriving and when leaving site. Under no circumstances can any work commence before the company contact has been seen and a copy of these safety rules been signed and the following covered where needed:

- Before work commences

The Compliance Officer/H&S Manager should be made aware of the contractor’s intention to start work to ensure there are no health and safety risks.

Before any work is started, the Contractor must discuss with the appointed Company Contact the following:

Signing in and out procedures.

Fire precautions and procedures.

Where relevant, the requirements of the site Permit to Work system.

Contents of Risk Assessments and Method Statements (if required).

The Colart contact and contractor need to go through the Contractor Safety Management Checklist and both sign and date it.

- Protective Equipment and Clothing (PPE)

Protective Clothing must be worn where stipulated

The Contractor will supply and enforce task specific PPE.

Colart will supply protective clothing for work in the laboratory and manufacturing areas.

- Equipment, Plant and Machinery

The Contractor and his employees will ensure that all equipment, plant, machinery and apparatus brought on to or used on the Company’s premises are safe and without risk to health. No tools or equipment will be provided by the Company.

- Working areas and access

The Contractor will work only in those areas where he is directed to work by the Company.

The Contractor shall ensure that the Company’s premises are not obstructed in any way to constitute a hazard to health and safety of employees or other persons on the Company’s premises.

- Stopping Unsafe Work

The Company shall retain the right to stop any activities that it considers a hazard or unnecessary disturbance to the health and safety of its employees or others.

The Company will not accept any responsibility for any increased cost arising out of such action if attributed to any act or omission of the Contractor.

- Accidents and Incidents

The Contractor shall immediately notify the Company, through the appointed Colart contact, of any personal injury or any incident involving any of the Contractor’s employees.

- Isolation of Services

The isolation of electrical supplies or other services (water, electricity, gas etc) is only permitted under supervision of the company contact and a permit to work will be required.

- General Competence

It is the responsibility of the Contractor to ensure that his tradesmen are competent to do the work specified.

- Communication of Safety Rules

The Contractor must ensure that his employees, any Subcontractors and their employees are aware of the relevant parts of these Rules and of the Company’s local site safety rules.

- Finished Work

All work must be signed off by the company contact before the contractor leaves the site.

- Out of Hours Work

This must be arranged with the Colart contact who must ensure that Monsoon (our landlord) security are aware.

Safety Rules for Contractors

These Rules form part of the contract whilst working on our premises and will cover any work carried out in future.

Company Name 						Signed